## Fire Checklist

This Fire Checklist can be used by Managers, Supervisors, Fire Wardens and other responsible persons to ensure that premises are regularly checked to help comply with The Fire (Scotland) Act 2005 and The Fire Safety (Scotland) Regulations 2006. A thorough Fire Risk Assessment (FRA) will be conducted by a “Competent Person” (Health and Safety Adviser) in line with Council Guidance on Fire Risk Assessment.

Do you have a Fire Risk Assessment for the premises? 		 Yes

(If Yes ensure that issues identified have been completed)		 No

(Look in Health and Safety folder - If No, e-mail (Health & Safety)

Is there an Evacuation Plan for the building? (See H&S Policy)	 Yes

(If No, ensure a suitable plan is developed)				 No

Have you identified Fire Wardens for the premises?			 Yes

(If No, arrange to have suitable staff trained)				 No

Do you have employees with a Disability?				 Yes

(If Yes, please develop a PEEP where appropriate)			 No

Have staff been trained in the use of Evacuation Chairs?		 Yes

(If applicable and supplied arrange for staff to be trained)		 No

Do staff require training in Evacuation Techniques?			 Yes

(Where appropriate, e.g. Care Homes - arrange training)		 No

Do staff require training in the use of Fire Extinguishers?		 Yes

(If Yes, arrange training via Arcadia or view DVD)			 No

Do you conduct at least two Fire Evacuation Drills Annually?		 Yes

(If No, ensure that Fire Drills are conducted and recorded)		 No

Is the Fire Alarm System/Automatic Doors tested weekly?		 Yes

(If No, arrange to have this done and recorded)				 No

Is the Fixed Fire Alarm System maintained?				 Yes

(If No, contact Property for further advice)				 No

Is the Emergency Lighting maintained?					 Yes

(If No, contact Property Helpdesk for advice)		 No

Are Fire Action Notices displayed?					 Yes

(If No, contact Health and Safety for advice)		 No

Are Fire Extinguishers, Hose Reels maintained annually?		 Yes

(If No, contact Property for further advice)				 No

Are all Escape Routes free of obstructions?				 Yes

(If No, ensure a good standard of General Housekeeping)		 No

Do you check the Fire Exits regularly?					 Yes

(If no, check that exit doors are not damaged)				 No

Do you make new employees aware of Fire procedures?		 Yes

(If No, ensure this is included in induction)				 No

Is the NO SMOKING policy followed at all times?			 Yes

(Care Home staff must check smoking rooms regularly)		 No

Are Flammables/Chemicals stored away from ignition sources?	 Yes

(If No, relocate Flammables/Chemicals away from Heat sources)	 No

Is there Gas Heating/Gas Boilers in the premises?			 Yes

(If Yes, is the system maintained annually?)				 No

Are Portable Electrical Appliances PAT Tested?			 Yes

(If No, contact Property Helpdesk)					 No

Is Liquefied Petroleum Gas (LPG) stored on-site?			 Yes

(If Yes, follow the LPG guidance available on Arcadia)			 No

Is Petrol/Diesel/Heating Oil stored on-site or on vehicles?		 Yes

(If Yes, ensure it is securely stored in suitable containers)		 No

Is there a good standard of General Housekeeping?			 Yes

(If No, ensure the work and storage areas are neat and tidy)		 No

Please refer to the Fire Guidance available on Arcadia for further information regarding Fire Evacuation; PEEP’s; Evacuation Chairs, Liquefied Petroleum Gas (LPG) and other information to help you fulfill your responsibilities as a Manager/Supervisor.

Fire DVD’s available on Arcadia include Construction Sites; Hot Work Risks, Managing Risk & Fire Risks and Fire Safety in Catering Kitchens.

# Text boxes

Name:							Designation:

Address of premises:

Contact Telephone Number:			Date: