Guidance on Personal Emergency Evacuation Plan (PEEP)

  - Aim

The aim of a Personal Emergency Evacuation Plan (PEEP) is:

- To provide people who cannot get themselves out of a building unaided with the necessary information to be able to manage their escape to a place of safety, and

- To give Line Managers the necessary information so as to ensure that the correct level of assistance is always available

  - Responsibilities

It is the responsibility of the manager of the premises to establish with disabled staff, regular users of the premise and schoolchildren whether they require any assistance in the event of an emergency.  If a member of staff or regular user requires assistance then the Emergency Evacuation Questionnaire for Disabled Persons should be completed.

This should be completed by the disabled person with appropriate support from the Line Manager.  In addition, other disabled visitors should also be approached as far as practical by local management to determine if there is any assistance or further support required by them during an emergency evacuation, for example regular visitors to Council Offices, Depots, Schools etc.

Support in this case may include provision of equipment such as Evac+ Chairs and training on their use for appropriate employees.  Aberdeenshire Council is now required to have pro-active plans for the evacuation of disabled people.

  - Writing the PEEP

From the information gathered in the questionnaire, a PEEP should be developed.  Give the unique characteristics and the need for a PEEP to take account of the buildings capabilities; disabled persons who regularly use different buildings may require a separate PEEP for each building.

If assistance with evacuation is required, the extent of such assistance should be identified in the PEEP i.e. the number of assistants and the methods to be used.  Persons responsible for individual buildings need to ensure that there is cover for absences, and assistants may require training on the evacuations methods.

  - Evacuation in an Emergency

    - Assisting wheelchair users down stairs

Where disabled persons are located above the ground floor there are a number of considerations

- Temporary fire refuges

A refuge is a designated temporary safe space for disabled people to allow a staged evacuation.  This will also require means of communication and accompaniment of the disabled person as appropriate.  It is an area that is both separated from a fire by fire -resisting construction and provides a safe route to final exit e.g. the head of a protected stairway – where there is sufficient space.  The provision of a refuge will permit a staged evacuation to be implemented.  A refuge are must be clearly signed and should be of sufficient size to accommodate both people using it as a refuge and any people passing through on their way out of the building.

Temporary fire refuges should only be defined after consultation.  It will be the responsibility of the occupier/controlling Service to make contact with the Property/Facilities Manager for the building as the requirements for fire separation and structure are very specific.

Information in relation to the location of disabled personnel must be given to the Emergency Evacuation Co-ordinator/Senior Fire Warden or other responsible person.

- Lifts

Most lifts cannot be used in an emergency.  Any lift used for the evacuation of disabled people should be either a “fire-fighting lift” or an “evacuation lift” and should be identified as such.

- Safe routes

A PEEP should contain details of the escape route(s) the disabled person will be expected to use.  Clear unobstructed gangways and floor layouts should be considered at the planning stage.  It is especially important to ensure that locks, doors and other devices can all be operated by the evacuating persons.  It is also necessary to ensure that there are (as much as possible) alternative routes and that the routes are not excessively long.

  - Deaf and hearing impaired persons

Generally, most deaf people working alongside hearing colleagues or visitors will not require special equipment, providing they have been made aware of what to do in the event of a fire.  They will be able to see and understand the behaviour of those around them.  However, deaf or hearing impaired persons working alone may need an alternative method of being alerted to an emergency.  For example, many alarm systems have visual indicators in the form of a flashing light, or vibrating pager systems can be used.

  - Blind and partially sighted persons

Employees should be offered orientation training and, where applicable, this must include alternative ways out of the building.  If a blind persons uses a guide dog it is important that the dog is also given ample opportunity to learn these routes.

  - Instruction and training

To be effective, any egress plan depends on the ability of staff to respond efficiently.  Staff should therefore receive instructions, practical demonstrations and training appropriate to their responsibilities.  This may include some or all of the following elements:

- Specific training for staff to assist with the evacuation of persons with the evacuation of persons with additional support needs including any equipment to be used;

- Fire drills for staff and visitors;

- Specific training for Fire Wardens;

  - Review

The PEEP should be reviewed as necessary due to any changes in circumstances, either personal or environmental, but at least annually.

# IMPORTANT

# USE OF EVAC+CHAIRS DURING EMERGENCY EVACUATION

It is not always appropriate to evacuate someone who has a mobility disability using an EVAC+CHAIR every time a Fire Alarm is activated.

There are a range of issues to consider in relation to the specific medical condition of an individual and it might me more practical to use a refuge where available, however, if a Fire is obvious in the building e.g. signs of Smoke, Flames, Explosions etc the EVAC+CHAIR would be utilised immediately.

There are training videos available on Arcadia regarding the EVAC+CHAIR.

Never practice an emergency evacuation using an EVAC+CHAIR using a person with a disability.

It is advisable to involve the Disabled Person when practicing with the EVAC+CHAIR by allowing them to observe how the chair is used.

It is useful to allow the person with a disability to practice transferring from a Wheelchair to the EVAC+CHAIR but only under controlled conditions. The PEEP will determine how many people would be required to assist with a transfer.

Regular practice by Fire Wardens and appropriate employees with the EVAC+CHAIR will allow you to use it with confidence in the event of a real emergency.