| Liquefied Petroleum Gas (LPG) What is LPG? http://www.calor.co.uk/service/lpg-information/what-is-lpg.htm HSE Information Sheet CHIS5 Small-scale use of LPG in cylinders: http://www.hse.gov.uk/pubns/chis5.pdf HSE Information Sheet CHIS4 Use of LPG in small bulk tanks: http://www.hse.gov.uk/pubns/chis4.pdf INDG428 Buried Metallic Pipework http://www.hse.gov.uk/pubns/indg428.pdf Stockline Plastics Summary Report http://www.theiclinquiry.org/Documents/Documents/071609%20ICL%20INQUIRY%20SUMMARY%20PUBLIC%20RELEASE%207.pdf Orphaned Compressed Gas Cylinders in the Waste and Recycling Industries http://www.hse.gov.uk/pubns/waste03.pdf | There are a considerable number of sites located throughout Aberdeenshire where LPG Cylinders are stored and are in use either daily or very infrequently. The Guidance detailed below should cover most premises within Aberdeenshire Council; however, if specific advice is required you should contact the Health and Safety Unit on 01224 664118. Storage of LPG Cylinders Always ensure empty and full cylinders are closed at the valve Do not store LPG cylinders in basements, cellars or pits Never store or leave LPG cylinders on a route used as a means of escape Do not store directly beneath Electrical Power Cables Always lock and secure the storage area after use Keep vehicles at least 3 metres from the nearest cylinder Store away from Flammable Liquids, Combustibles, Oxidising, Corrosive and Toxic Materials Do not use a Chlorate-based Weedkiller on Weeds and Grass in the vicinity of the LPG storage Do not smoke when handling cylinders Display a No Smoking sign on the storage cage Ensure that Full and Empty signs are displayed Display a 24hr. Emergency Contact Number on the storage cage Always store LPG cylinders upright – never store LPG Cylinders on their side as the LPG could become unstable Ensure good Stock Control on-site and reduce the amount of cylinders stored where appropriate – Do not overstock!! |
| --- | --- |

# Text boxes

In the event of an LPG Fire:

Dial 999 and ask for the Fire Brigade

Inform the Fire Brigade that LPG Cylinders are on Fire

Never attempt to extinguish an LPG Fire

Evacuate the area immediately

Do not put yourself at risk

In the event of an LPG Leak:

Close the cylinder valve

Extinguish nearby sources of ignition

Do not allow access to the area

Display a No Smoking sign

Evacuate the area immediately

Contact your supplier