Gas Management and Control Policy

Aberdeenshire council will demonstrate that, in regard of managing the risks associated with Gas it will:

- Identify and assess sources of risk

- Prepare a control system for preventing, reducing or controlling the risk

- Implement and manage and monitor precautions

- Maintain suitable and sufficient records of the precautions implemented and will carry this out for each Aberdeenshire Council premises within the Council’s control.

- Appoint a person to be responsible for the management and maintenance of the control system and measures adopted.

The Manager of the establishment has the day to day responsibility for the implementation of these procedures to ensure, so far as is reasonably practicable, the safety of employees and others at council premises

Management has a statutory duty to ensure that compliance is active, continuous and effectively policed.

The Council must be able to demonstrate it has:

- Identified all the relevant factors

- Instituted the appropriate corrective or preventive actions and

- Is monitoring the effective implementation of the required solutions.

GAS

1.	All gas equipment and appliances must be inspected by a registered competent person (Gas Safe trained) on an annual basis:

(	Boilers

(	Cookers

(	Heaters (portable)

2.	Ensure that relevant staff are aware of the position of the gas cut off valves.

3.	All mains gas pipe work taps and valves are colour coded yellow.

4.	All pupils are to be supervised when operating gas appliances

5	In the event of a gas leak

(		Immediately call Transco 0800 111 999 (Property if you use LPG)

(	Evacuate all occupants of the school to a location away from the source of the leak.

(	Avoid switching off / on electrical equipment

(	Avoid naked lights