Corporate Services, Health and Safety

HEALTH AND SAFETY INSPECTION

PREMISES:

INSPECTION CARRIED OUT BY:		    DATE:

SIGNATURE:

| 1. WELFARE | YES | NO | N/A |
| --- | --- | --- | --- |
| 1.1 Are there an adequate number of urinals, WC’s, washbasins, showers for male and/or female staff? |  |  |  |
| 1.2 Are hand/face drying facilities provided? |  |  |  |
| 1.3 Are there storage facilities for personal protective equipment? |  |  |  |
| 1.4 Is there a mess room provided with adequate facilities for washing crockery? |  |  |  |
| 1.5 Are there adequate seating and tables within the mess room? |  |  |  |
| 1.6 Is there a wholesome drinking water supply? |  |  |  |
| 1.7 Are there room temperature thermometers in the workplace? |  |  |  |
| 2. STORAGE |  |  |  |
| 2.1 is there adequate (ventilated) storage for Liquid Petroleum Gas and is it properly signed? |  |  |  |
| 2.2 Are there adequate storage facilities (lockable and properly signed) for flammable substances? |  |  |  |
| 2.3 Is petroleum spirit stored and is storage approved by the petroleum officer? |  |  |  |
| 2.4 Are all materials stored correctly and securely? |  |  |  |
| 3. ELECTRICAL/MECHANICAL |  |  |  |
| 3.1 Is all portable electrical equipment inspected on an annual basis? |  |  |  |
| 3.2 Is there an inventory of all portable electrical equipment? |  |  |  |
| 3.3 Are all power tools 110 volts (or if 240 volts, protected by RCD)? |  |  |  |
| 3.4 Is the electrical switch gear cupboard free from flammables and obstruction? |  |  |  |

| 4. FIRST AID |  |  |  |
| --- | --- | --- | --- |
| 4.1 Are first aid facilities/equipment provided? |  |  |  |
| 4.2 Are first aid boxes checked? |  |  |  |
| 4.3 Are first aiders appointed or are there ‘appointed persons’ available? |  |  |  |
| 4.4 Are notices displayed (location and names)? |  |  |  |
| 4.5 Does everyone understand his or her first aid policy? |  |  |  |

| 5. FIRE | YES | NO | N/A |
| --- | --- | --- | --- |
| 5.1 Has a fire risk assessment been carried out? |  |  |  |
| 5.2 Has the fire risk assessment been acted upon? |  |  |  |
| 5.3 Is emergency lighting provided and inspected? |  |  |  |
| 5.4 Are fire extinguishers provided and inspected weekly? |  |  |  |
| 5.5 Are fire alarms function tested weekly and a record kept? |  |  |  |
| 5.6 Is the fire record book up to date? |  |  |  |
| 5.7 Are fire action notices displayed? |  |  |  |
| 5.8 Are fire exits and routes kept free and clear from obstruction? |  |  |  |
| 5.9 Are fire drills carried out regularly? (minimum 2 per year) |  |  |  |
| 5.10 Are there means and arrangements for evacuating disabled persons? |  |  |  |
| 5.11 Have fire hydrants within the premise grounds been identified and tested? |  |  |  |
| 6. GROUNDS/OUTSIDE AREAS |  |  |  |
| 6.1 Are footpaths and roadways in satisfactory condition? |  |  |  |
| 6.2 Are car and bus parks properly managed and marked out? |  |  |  |
| 6.3 Are provisions made for ice and snow conditions? |  |  |  |
| 6.4 Is lighting of roads and paths suitable and sufficient? |  |  |  |
| 7. SECURITY |  |  |  |
| 7.1 Is the perimeter adequately secured? |  |  |  |
| 7.2 Is provisions made to control entry and visitors onsite? |  |  |  |
| 7.3 Are offices kept locked while employees are absent? |  |  |  |

| 8. GENERAL ENVIRONMENT |  |  |  |
| --- | --- | --- | --- |
| 8.1 Are stairs, ramps and floors in good condition and free from obstruction? |  |  |  |
| 8.2 Is lighting suitable and sufficient? |  |  |  |
| 8.3 Is heating and ventilation suitable and sufficient? |  |  |  |
| 8.4 Is the internal fabric of the building clean and maintained to an acceptable standard? |  |  |  |
| 8.5 Are windows free from draughts/leaks and can they be opened and cleaned safely? |  |  |  |
| 9. WORK EQUIPMENT |  |  |  |
| 9.1 Is all work equipment inspected and records kept? (for example, gas, ladders, lifts, hoists etc) |  |  |  |
| 9.2 Is all work equipment suitable for the purpose for which it is used? |  |  |  |
| 10. CHEMICALS |  |  |  |
| 10.1 Are all chemicals correctly and securely stored? |  |  |  |
| 10.2 Are all chemicals kept in properly labelled containers? |  |  |  |
| 10.3 Are COSHH assessments available for all chemicals? |  |  |  |