SAFETY SIGNS

TRAINING/INFORMATION

Employers must inform employees of what the different safety signs mean and how they must respond to them.

What is a safety sign?

The terms used in the Regulations cover:-

A Safety and/or Health sign is:-

A sign providing information/instruction about health and safety by means of:-

Signboard

A colour

An illuminated sign, or

Acoustic signal

A verbal communication

A hand signal

These are explained in more detail in the guidance to the Regulations.  In general if signs comply with BS 5378 (or in the case of fire safety signs BS 5499 complete with the modern symbols/pictograms) they will meet the requirements of these Regulations.

An acoustic signal is one transmitted without the use of human or artificial voice.

A verbal message is a fire-determined spoken message (human or artificial voice).

Hand signals - use of hands/arms to communicate a recognised signal.

Duties imposed on whom/where?

the duty under these Regulations is imposed on the employer or person in charge of the workplace.  The “Management Regulations” are relevant particularly Regulation 10.

There is no duty under these Regulations to provide signs to warn other people (visitors or neighbours) and they don’t apply to the self employed.  However, Section 3 of HASAWA and Regulation 10 of the “Management” Regulations apply as always.

Supply of Substances

These Regulations don’t affect CHIP.

Supply of Machinery

Most machines are subject to the Supply of Machinery (Safety) Regulations 1992.

Internal Works Traffic

Regulations require the use of road traffic signs to control road traffic within the workplace.  See Road Traffic Regulations Act.

Signs on Pipelines

Generally these should be signed if they contain dangerous substances.  BS 1710 Specification for ID of Pipelines and Services would be of interest.

Marking Areas/Enclosures/Rooms

Unless the hazard labels on the packages containing dangerous substances can be easily seen from the outside all such rooms enclosures etc. should have appropriate warning signs.

The marking of explosives stores are dealt with under the Explosives Act.

Marking of sites holding 25 tonnes or more of dangerous substances still comes under the HMS Regulations.

Marking Obstacles, Dangerous Locations and Traffic Routes

In most cases secure fencing must be used but in certain lower risk areas or where fencing is impractical black and yellow or red and white diagonal striped markings should be used.

Using Acoustic Signals and Illuminated Signs

General Principals

These may sometimes be used instead of conventional signs.

The standard required is in schedule 1 of these Regulations.

They must be suitable for the environment.

Guidance on fire alarm signals etc. is given later.

When signals/illuminated signs are used for emergency/varying purposes they must remain on as long as the danger exits.

Illuminated Signs

Must be bright enough to be seen.

Don’t use too many such signs together (avoid confusion).

Flashing signs used with acoustic signals must be synchronised.

If the sign can be either on continuously or “flashing” - use the flashing sign for the higher level of danger.

Don’t induce epileptic seizures.

Acoustic Signals (including Fire Alarms)

Set all acoustic signals at 10dB above ambient noise (but not painful).

Must be easily recognisable.

Use one acoustic signal at a time.

Fire Alarms

Guidance given later.

Hand Signals

Can be used to direct hazardous operations.

Must be simple, precise, easy to understand.

Signaler must be competent.

Signaler must be able to see the manoeuvres.

Duties of signaler must be clearly defined.

One <> one signaler may be required.

Code of Hand Signals

Hand signals to conform to schedule 1 of the Regulations or to BS 6736 or BS 7121, referred to in schedule 2.

These signals may sometimes be augmented by other recognised signals.

Whatever code of signals used they must be consistent throughout the whole worksite - training may be needed.

Use of Verbal Signals

Verbal signals can also be used to direct hazardous operations - these can be:-

(i)	Human or artificial voice;

(ii)	Direct or pre-recorded.

Such messages must be clear, concise and properly understood.

Such signals can assist in compliance with Section 2 HASAWA and Regulations 8 and 11 of the “Management Regulations”.

Specific Rules

The language used must be properly pronounced and understood.

A list of established words and meanings is set out in Table 2 of the guidance.

Fire Signs

What is a Fire Safety Sign (Reg 2 (1))

It is a sign including an illuminated sign or acoustic signal which:-

Provides information : ref escape routes/emergency exits;

Provides information : ref fire fighting equipment; or

Gives warning in case of fire.

When are Fire Safety Signs required?

These are required:-

Under the “Fire Precautions Act 1971” and other “fire” legislation (fire certificates);

In response to the employers risk assessment;

Often the “fire authority” will determine numbers types and position of signs/signals etc.

Safety Colours

Information reference colours is given in:-

Paragraph 34 Table 1 (Safety Signs)

Table 3 (Fire Safety Signs)

What about existing Fire Safety Signs?

Provided that these signs contain the required symbols and pictograms and comply with BS 5499 they meet the requirements.

A sign which only has the text e.g. FIRE EXIT is not acceptable but the Regulations allow their use until 24 December 1998.

Using Fire Signs in Buildings

All emergency/alternative exits must be clearly signed.

Normally all fire exit signs must be immediately above the exit.

Where an exit cannot be seen in direct line of sight directional arrow signs.  The signs displayed must be uniform throughout.

Supplementary signs may be needed e.g. “Fire Escape - Keep Clear” where exits could become obstructed.

If natural light is poor then adequate lighting (including emergency lighting) will be required.

Fire Alarms (Acoustic Signal)

It should have a sound level well above the ambient noise level (10 dB?).

Must be easily recognisable and distinct from other acoustic signals.

Sustained during the evacuation.

Manually operated sounders may be used in small workplaces while larger ones may required electrically activated system.

Regulations permit the incorporate of a PA system and/or a flashing light with the warning signal.

BS 5839 “Fire Detection/Alarm Systems in Buildings” and BS 7443 “Specification for Sound Systems for Emergency Purposes” provide advice.

Two stage warning systems may be appropriate in large buildings.

Note:	All such warning systems must be properly inspected and maintained, with records kept.

Information, Instruction and Training

Employees must be instructed in the meaning of fire safety signs, how to give warning in case of fire, and in what they are required to do.

The Schedules to the Regulations

Schedule 1 (Regs : 4 (4) and (5) relate)

Part I		“Minimum Requirements Concerning Safety Signs/Signals” etc

Part II		“Minimum General Requirements Concerning Signboards”

Part III		“Minimum Requirements Governing Signs on Containers and Pipes”

Part IV		“Minimum Requirements for the Identification and Location of Fire-Fighting Equipment”

Part V		“Minimum Requirements Governing Signs Used for Obstacles, Dangerous Locations and Traffic Routes”

Part VI		“Minimum Requirements for Illuminated Signs”

Part VII		“Minimum Requirements for Acoustic Signals”

Part VIII	“Minimum Requirements for Verbal Communication”

Part IX		“Minimum Requirements for Hand Signals”

Schedule 2 (Regs : 4 (5) relates)

Documents specifying alternative hand signals.  Codes etc.

Schedule 3 (Regs : 8 relates)

Part I		“Revocations” of legislation

Part II		“Modifications” of legislation